| Y N N/A Comments |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Radiation Safety |  |  |  |  |  |
| 1 | Room is authorized by FAU's State of Florida Radioactive Materials License |  |  |  |  |
| 2 | Caution, Radioactive Material signs posted on entrance doors (64E-5.322) |  |  |  |  |
| 3 | Equipment, containers, & storage areas properly labeled (64E-5.325, .1316(7)) |  |  |  |  |
| 4 | Emergency procedures posted (64E-5.901(1)(f)) |  |  |  |  |
| 5 | Notice to Employees (Form DH-1081) posted. (64E-5.901(3)) |  |  |  |  |
| 6 | EH&S Waste Guidelines posted |  |  |  |  |
| 7 | Radioactive material secured against unauthorized access/removal (64E-5.320) |  |  |  |  |
| 8 | Appropriate shielding of radioactive materials (64E-5.303(2)) |  |  |  |  |
| 9 | Radioactive material users have received initial training (64E-5.1307) |  |  |  |  |
| 10 | Radioactive material users have received refresher training |  |  |  |  |
| 11 | Inventory records are maintained for 3 years (64E-5.303) |  |  |  |  |
| 12 | Survey records are maintained for 3 years (64E-5.1319(3), .336) |  |  |  |  |
| 13 | Survey instrument available (64E-5.1318(1)(3)) |  |  |  |  |
| 14 | Survey instrument calibrated within the last year (64E-5.314(2)) |  |  |  |  |
| 15 | Liquid Scintillation Counter calibrated annually (64E-5.314(2)) |  |  |  |  |
| 16 | Waste is properly labeled (64E-5.1316(6)) |  |  |  |  |
| 17 | Waste is properly shielded (64E-5.1316(5)) |  |  |  |  |
| 18 | Removable contamination surveys performed as required (64E-5.314, .1319) |  |  |  |  |
| 19 | Radiation level surveys performed at required frequency (64E-5.1319(1)) |  |  |  |  |
| 20 | Radioactive materials users wear appropriate PPE (64E-5.1316(1)(2)) |  |  |  |  |
| 21 | Fume hood functioning properly (64E-5.1317) |  |  |  |  |
| 22 | Individuals wear whole body TLDs as required (64E-5.1316(5), .1310(4)(5)(6)) |  |  |  |  |
| 23 | Individuals wear extremity TLDs as required |  |  |  |  |
| 24 | No evidence of eating, drinking, or applying cosmetics (64E-5.1316(3)) |  |  |  |  |
| 25 | No storage of food, drink, or personal effects in restricted area (64E-5.1316(4)) |  |  |  |  |
| 26 | No radioactive contamination detected |  |  |  |  |
| 27 | Radiation levels less than 2 mR in any one hour |  |  |  |  |