| Y N N/A Comments |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Chemical Storage & Safety |  |  |  |  |  |
| 1 | Chemical containers properly labeled, stored, & closed when not in use. |  |  |  |  |
| 2 | Chemicals segregated and stored by compatibility. |  |  |  |  |
| 3 | Peroxide formers dated at purchase and again upon opening. |  |  |  |  |
| 4 | Peroxide formers disposed of within proper time frames. |  |  |  |  |
| 5 | Secondary containment used where appropriate. |  |  |  |  |
| 6 | Vacuum equipment trapped and/or filtered. |  |  |  |  |
| 7 | Chemical storage areas free of ignition sources. |  |  |  |  |
| 8 | Refrigerators/Freezers properly labeled. |  |  |  |  |
| 9 | Refrigerators/Freezers properly rated if flammable liquids are stored within. |  |  |  |  |
| 10 | Fume hoods and/or biosafety cabinets not used for general storage. |  |  |  |  |
| 11 | Cryogenic materials stored properly and proper PPE available. |  |  |  |  |
| 12 | Flammable liquids in containers over 4 L are in approved safety cans. |  |  |  |  |
| 13 | Corrosive storage cabinet used if more than 10 gal of corrosives present. |  |  |  |  |
| 14 | Chemicals purchased in amounts that can be used within a reasonable time. |  |  |  |  |
| 15 | Chemical stocks purged of old, out-dated, and unusable chemicals. |  |  |  |  |
| 16 | Chemical inventory up to date and copy sent to EH&S. |  |  |  |  |
| Compressed Air and Compressed Gases |  |  |  |  |  |
| 1 | Air compressors equipped with pressure gauges and pressure relief valves. |  |  |  |  |
| 2 | Compressed air piping, hoses and fittings in good condition. |  |  |  |  |
| 3 | Compressed air 30 psi or less for machine/parts cleaning, 10 psi for clothing. |  |  |  |  |
| 4 | Compressed air cleaning nozzles with chip/particle deflection device. |  |  |  |  |
| 5 | Gas cylinders w/30 lb or more water capacity have valve protection capability. |  |  |  |  |
| 6 | Gas cylinders legibly marked as to their contents. |  |  |  |  |
| 7 | Gas cylinders stored away from high heat, flames, etc. |  |  |  |  |
| 8 | Gas cylinders stored in secure area and secured from tipping or falling. |  |  |  |  |
| 9 | Gas cylinders transported on cylinder carts. |  |  |  |  |
| 10 | When in use, gas cylinders kept away from elevators, stairs, and ramps. |  |  |  |  |
| 11 | Valve protectors used when cylinders not in use or when being transported. |  |  |  |  |
| 12 | Liquefied gas cylinders (acetylene) always shipped and stored valve-end up. |  |  |  |  |
| 13 | Proper type of regulator used for type of gas cylinder in use. |  |  |  |  |
| 14 | Gas cylinders, valves, couplings, regulators kept free of oil and grease. |  |  |  |  |
| 15 | Gas cylinders lacking obvious defects, leaks, damage, etc. |  |  |  |  |
| 16 | Gas cylinders hydrotested at appropriate intervals. |  |  |  |  |
| 17 | Empty gas cylinders labeled "Empty," valves closed, and caps on. |  |  |  |  |
| 18 | Oxygen and Acetylene in storage are separated by 5' noncombustible barrier. |  |  |  |  |
| Hazardous Waste & Materials Disposal and Recycling |  |  |  |  |  |
| 1 | Waste storage areas (bins, totes) designated. |  |  |  |  |
| 2 | Waste containers properly labeled (chemical components, amounts, etc.). |  |  |  |  |
| 3 | Waste containers compatible with waste to be stored. |  |  |  |  |
| 4 | Only compatible chemical wastes stored in the same container. |  |  |  |  |
| 5 | Waste containers kept closed except when adding waste. |  |  |  |  |
| 6 | Waste containers stored compatibly. |  |  |  |  |
| 7 | Fluorescent, HID, Mercury vapor lamps recycled properly. |  |  |  |  |
| 8 | Used oil collected and recycled properly. |  |  |  |  |
| 9 | Non-alkaline batteries (lead acid, Ni-cad, silver, etc.) managed for recycling. |  |  |  |  |
| 10 | Mercury containing devices (thermostats, barometers, etc.) properly recycled. |  |  |  |  |
| 11 | Electronic devices, (monitors, TVs, circuit boards, etc.) managed properly. |  |  |  |  |
| 12 | Biohazardous materials & animal carcasses managed & disposed properly. |  |  |  |  |
| Manuals, Training, SOPs, MSDSs, Occ. Health |  |  |  |  |  |
| 1 | Appropriate safety manual(s) available (CHP, ECP, Bio Safety Rad Safety, etc.). |  |  |  |  |
| 2 | Standard Operating Procedures & Material Safety Data Sheets readily available. |  |  |  |  |
| 3 | Applicable initial/refresher training completed. (LS,HW,BW,BBP, RAD,etc.). |  |  |  |  |
| 4 | Personnel in occ. health program, if required (blood, etiologic agents, carcin.). |  |  |  |  |
| Safety Equipment and Emergency Preparedness |  |  |  |  |  |
| 1 | Eyewash & safety shower within 100 ft. and 10 second travel time. |  |  |  |  |
| 2 | Eyewash & safety shower unobstructed and inspected as required. |  |  |  |  |
| 3 | Fume hoods, biosafety cabinets, glove boxes, properly located and certified. |  |  |  |  |
| 4 | Appropriate spill control kit available and stocked (Chem, Rad, Bio). |  |  |  |  |
| 5 | Spill & accident reporting procedures understood by lab personnel. |  |  |  |  |
| 6 | Appropriate first aid kit available and stocked. |  |  |  |  |
| 7 | Emergency contact information posted by entrance (and by phone if present). |  |  |  |  |
| 8 | Laboratory under negative pressure in relation to other areas. |  |  |  |  |
| Electrical Safety |  |  |  |  |  |
| 1 | Extension cords are not used as permanent wiring. |  |  |  |  |
| 2 | Extension cords and power strips not daisy-chained one to another. |  |  |  |  |
| 3 | Electrical cords not under carpets/rugs, through doorways, or high traffic areas. |  |  |  |  |
| 4 | Multi-outlet power strips are UL listed and have circuit breakers. |  |  |  |  |
| 5 | Power cords are in good condition with no splices or broken insulation. |  |  |  |  |
| 6 | Grounding prongs not removed from 3-way plugs. |  |  |  |  |
| 7 | Outlet, switch and junction box covers are in place and in good repair. |  |  |  |  |
| 8 | Circuit breaker panels and emergency shut offs unobstructed and labeled. |  |  |  |  |
| 9 | Electrical outlets not overloaded with appliances, i.e. splitters used. |  |  |  |  |
| 10 | Ground Fault Interrupters installed, labeled and operating correctly. |  |  |  |  |
| 11 | Energized parts, circuits, and equipment guarded against accidental contact. |  |  |  |  |
| Prevention and Protection |  |  |  |  |  |
| 1 | Fire extinguishers properly mounted, located, and identified. |  |  |  |  |
| 2 | Fire extinguishers adequate in number and type. |  |  |  |  |
| 3 | Fire extinguishers inspected, recharged, and maintained as required. |  |  |  |  |
| 4 | Fire aisles, exitways, stairways, and fire equipment kept unobstructed. |  |  |  |  |
| 5 | Exit lights properly illuminated and emergency lighting operable. |  |  |  |  |
| 6 | Fire doors not blocked open or are on magnets connected to fire alarm system. |  |  |  |  |
| 7 | Flammable liquids stored in approved safety cans. |  |  |  |  |
| 8 | Flammable liquid containers kept closed when not in use. |  |  |  |  |
| 9 | Flammable liquids of 10 gallons or more stored in flammable storage cabinet. |  |  |  |  |
| 10 | Flammable storage cabinets labeled "Flammable - Keep Fire Away." |  |  |  |  |
| 11 | Connections on drums and combustible liquid piping leak free. |  |  |  |  |
| 12 | Flammable liquid drums grounded and bonded to containers when dispensing. |  |  |  |  |
| 13 | Proper storage of flammable/combustible materials to reduce risk of fire. |  |  |  |  |
| 14 | Oily/greasy rags placed in proper self-closing oily rag containers. |  |  |  |  |
| 15 | No penetrations through walls or ceilings and all ceiling tiles are in place. |  |  |  |  |
| 16 | Sprinkler heads clean and no storage within 18 inches. |  |  |  |  |
| 17 | Sprinkler heads protected by metal guards when exposed to physical damage. |  |  |  |  |
| General & Miscellaneous Safety |  |  |  |  |  |
| 1 | Hand washing sink, soap and towels available & used before leaving lab. |  |  |  |  |
| 2 | Sink faucets with backflow device or attached hoses above sink rim. |  |  |  |  |
| 3 | Heavy objects stored below 5 ft. unless secured and stepladder provided. |  |  |  |  |
| 4 | Stepladder or stepstool available & in good condition for high storage access. |  |  |  |  |
| 5 | Appropriate signs posted (First aid kit, safety shower, fire extinguisher, etc.). |  |  |  |  |
| 6 | Proper handling & disposal of broken glass & sharps. |  |  |  |  |
| 7 | Batteries charged in properly ventilated area away from sparks and flames. |  |  |  |  |
| 8 | Work practices observed during inspection done safety. |  |  |  |  |
| 9 | No food or beverages unless adequately separated from hazard areas. |  |  |  |  |
| 10 | Benchtops impervious to water and resistant to chemicals. |  |  |  |  |
| 11 | Lab furniture is appropriate for loading and use. |  |  |  |  |
| General Work Environment & Indoor Air Quality |  |  |  |  |  |
| 1 | All areas properly illuminated. Glare and reflections avoided. |  |  |  |  |
| 2 | Noise levels are within acceptable limits or engineering controls established. |  |  |  |  |
| 3 | Areas with high noise levels posted and hearing protection required to be used. |  |  |  |  |
| 4 | Work areas clean, sanitary, and orderly. (garbage disposed properly, etc.) |  |  |  |  |
| 5 | Work area properly ventilated for type of equipment or chemicals in use. |  |  |  |  |
| 6 | Vacuum systems used when possible instead of blowing or sweeping dusts. |  |  |  |  |
| 7 | Temperature and humidity seem to be within acceptable ranges. |  |  |  |  |
| 8 | Areas free of visible fungal/mold growth and associated odors. |  |  |  |  |
| 9 | Walls ceilings, floors free of signs of mold or moisture damage. |  |  |  |  |
| 10 | Air intake areas free of odor causing materials or hazardous chemicals. |  |  |  |  |
| Personal Protective Equipment (PPE) |  |  |  |  |  |
| 1 | Appropriate eye/face protection is available and used if hazard present. |  |  |  |  |
| 2 | Appropriate hand protection is available and used if hazard present. |  |  |  |  |
| 3 | Appropriate hearing and foot protection available and used if hazards present. |  |  |  |  |
| 4 | Protective clothing - coveralls, aprons, gowns, etc. available & used if needed. |  |  |  |  |
| 5 | Protective clothing and gloves removed before leaving lab. |  |  |  |  |
| 6 | Non-disposable protective clothing laundered on site or by commercial service. |  |  |  |  |
| 7 | Approved respirators available and used if needed. |  |  |  |  |
| 8 | Respirator users medically certified, properly trained and fit tested. |  |  |  |  |
| 9 | PPE is properly stored, clean and in good condition. |  |  |  |  |
| Animal Biological Safety Level 2 |  |  |  |  |  |
| 1 | Personnel are enrolled in the Occupational Health Program. |  |  |  |  |
| 2 | Human allergies to animals have been addressed. |  |  |  |  |
| 3 | If animals are taken from the animal care facility & used in the lab, how long? |  |  |  |  |
| 4 | Project has been approved by the IACUC. |  |  |  |  |
| 5 | Floor drain traps filled with disinfectant. |  |  |  |  |
| Biological Safety Level 2 |  |  |  |  |  |
| 1 | Lab access restricted when working with infectious agents. |  |  |  |  |
| 2 | Appropriate Bilogical Safety Level sign posted. |  |  |  |  |
| 3 | Lab personnel advised of hazards and required immunizations. |  |  |  |  |
| 4 | Lab personnel receive appropriate immunizations & tests for agents handled. |  |  |  |  |
| 5 | Baseline serum collected, if appropriate. |  |  |  |  |
| 6 | Specimen containers leakproof and covered during transport. |  |  |  |  |
| 7 | Equipment & work surfaces disinfected regularly, after work with agents or spills. |  |  |  |  |
| 8 | Work has been approved by the IBC. |  |  |  |  |
| 9 | Access restricted to Select Agents and Select Agents properly secured. |  |  |  |  |
| 10 | All spaces accessible for cleaning and are easily cleaned. No carpets or rugs. |  |  |  |  |
| 11 | Insect and rodent control program in place. |  |  |  |  |
| 12 | Biosafety Cabinet (Class II) or other containment device used when appropriate. |  |  |  |  |
| 13 | Centrifuge safety caps/cups are utilized. |  |  |  |  |
| 14 | Mechanical pipetting devices are utilized. |  |  |  |  |
| 15 | Autoclave efficacies are verified & documented. |  |  |  |  |
| 16 | Plasticware and safer needle alternatives implemented where feasible. |  |  |  |  |
| Biological Safety Level 2+ |  |  |  |  |  |
| 1 | BSL 3 Standard practices, special practices, and safety equipment in use. |  |  |  |  |
| 2 | Laboratory is under negative pressure with respect to other areas. |  |  |  |  |
| 3 | Exhaust air is discharged to the outside of the building. |  |  |  |  |
| 4 | Hands-free/automatic handwashing sink provided near exit door. |  |  |  |  |
| 5 | Vacuum lines protected with liquid disinfectant traps and HEPA filters. |  |  |  |  |

Instructions:

- Use this form for general information and to document inspections.

- Identify deficiencies and annotate the section when corrected.

- Review the prior month when completing a new form to ensure all deficiencies were corrected.

- If an item does not apply, mark N/A.

- If a section does not apply, mark all N/A

- For Laboratories requiring a radiation safety inspection, use the Laboratory Inspection Form for Radiation Safety.