## Slide 1: Pompano Culture in Recirculating Aquaculture Systems
Funding Thanks to
Paul S. Wills
CDFA 11.417: Wills - Final Steps Toward Commercialization of Pompano Aquaculture NA18OAR4170345

## Slide 2: Recirculating Aquaculture Systems (RAS)
Year round growing season
Reduced water consumption
Reduced effluent discharge
Intensive production
Enhanced biosecurity
Increased food safety
Containment of escapees
Environmental Sustainability

## Slide 3: Basic RAS Design Waste Water Makeup Water & Evaporation
Feed
Solid and Dissolved wastes
Concentrated Waste Sludge
Ammonia
(Highly Toxic)
Biofiltration
Nitrate
(very low toxicity)
Oxygen
Solids Filtration

## Slide 4: Advanced RAS design and Operation
“The Yellow Book”
New 5th edition
Available on Amazon $99 Search “ISBN 0971264694”

## Slide 5: Basis of the Commercial System Design
Scaled up version of tested design developed jointly for USDA-ARS project and FL-FWCC marine hatchery program FMFEI
System Operated so far with:
  Red Drum up to >90 Kg/m3 ➔(~1% BWD feed rate)
  Florida Pompano ~40 Kg/m3
  Cobia ~45 Kg/m3

## Slide 6: LOW HEAD GROWOUT SYSTEM
1. Long flow pathway moving bed reactor with cross flow oxygenator, float valves, and propeller pump; 2. Incoming salt and freshwater lines with float valves and water meters; 3. UV sterilizer; 4. Torrus filters with 13ft3 of MB3 floating plastic media; 5. Ten-foot diameter tanks w/ center sump and sidebox drain; 6. Diverter box; and 7. 60 micron drum filter.
1
2
3
4
5
6
7

## Slide 7: Ocean Science for a Better World

## Slide 8: BIOFILTER VOLUMETRIC NITRIFICATION RATES
Influent TAN (mg/L)
g TAN/m3 media-day
Long Flow Pathway Moving Bed Biofilter
25.0
50.0
75.0
100.0
125.0
150.0
175.0
0.0
0.00 0.20 0.40 0.60 0.80 1.00
1.20
1.40
1.60

## Slide 9: Commercial System Design
Not to scale
* Static Bed filters each contain 8 ft3 of MB3 biomedia
*

## Slide 10: Panorama of Filtration System
Return Water
Foam Fractionator
Biofilter Drum Screen Filter
Main Pumps
Pumping BSatsaitnic Bed Filters Ultraviolet filters

## Slide 11: Drum Screen Filter (60um)

## Slide 12: Microscreen Cleaning Process

## Slide 13: Waste Water Recapture
We used a Static Bed Filter to separate solids from Drum Screen Filter Waste stream
  Concentrates solids prior to discharge
  Recaptures significant component of water used for wash down of drum screen
  Each contains 8 Ft3 MB3 Media

## Slide 14: Moving Bed Biofilter
250
Aeration Keeps Bed Fluidized
( 450 ft3 MB3 Biomedia)

## Slide 15: Minimum Dose Desired
Minimum Dose Desired
30,000 uW sec/cm2
The two units delivering
~150,000 uW sec/cm2

## Slide 16: Tank Cover

## Slide 17: Aeration and Oxygenation

## Slide 18: Aeration and Oxygenation 2
Oxygenation Zone 2
Aeration Zone
Oxygenation Zone 1
O2
Sensors
25 ft Diameter

## Slide 19: Backup Systems
Systems designed to combat “Murphys Law”
  “If anything can go wrong it will”
Therefore managers must:
  Anticipate
  Plan
  Train
  Respond
    (an automatic system that “cries wolf” can derail this necessary task)

## Slide 20: Backup Systems 2
Generators
Automatic oxygen system
Alarm Systems

## Slide 21: Generators
Must have disconnect switch and meet other local requirements

## Slide 22: Automatic Oxygen System
Opens oxygen flow to tanks regardless of monitoring systems or other backup systems when power lost
Must use Normally Open Solenoid Valves for failsafe system
– Normally open ➔closed when power on; open when power off

## Slide 23: Alarm System

## Slide 24: Nursery System

## Slide 25: Larviculture System

## Slide 26: Broodstock Conditioning and Spawning System USDA-ARS/HBOI-FAU Design

## Slide 27: Broodstock Profile
Florida Pompano
Weight: 0.7 – 2.3 kg
Mature age: 1- 3 yrs
Temp: 18 – 30 C
Salinity: 5 – 36 ppt

## Slide 28: Water Quality Management Parameters
Parameter Temperature pH
Dissolved oxygen Alkalinity Ammonia
Nitrite
Total dissolved solids
Target Level 16 – 30 C
7.6 – 8.2
≥ 5 mg/L
≥ 200 mg/L
≤ 1 mg/L
≤ 2 mg/L
≤ 5 mg/L

## Slide 29: Broodstock Conditioning System
Culture Unit (5.7 m3)
Egg Collectors (0.3 m3)
Waste
UV
Sump (2.3 m3)
Waste
Beadfilter (0.1 m3)
Pump to chiller
Waste
Cartridge filters
Return from chiller

## Slide 30: Fishery tanks

## Slide 31: Fishery equipment

## Slide 32: Falcon Heavy: USSF-67 Jan 15, 2023
Falcon Heavy: USSF-67 Jan 15, 2023